Warrick County Drainage Board

Minutes

Regular Session - Agenda

107 W. Locust St., Ste. 303- Boonville, IN  47601

Phone - (812) 897-6170

Sarah A. Seaton	         Terry J Phillippe	  Stacey Franz

Meeting Date:  	May 26, 2026

Meeting Time:	2:30 P.M.

Link to view meeting via YouTube:  Warrick County Meetings

Note:  Persons with disabilities or non-English speaking persons who wish to attend a public meeting or hearing and need assistance should contact the Commissioner’s Office, 107 W. Locust Street, Suite 301, Boonville, Indiana 47601 or 812-897-6120 not later than one (1) week prior to any meeting or hearing.  Every effort will be made to make reasonable accommodations for any such person or persons.

# Present: Steve Sherwood, Morrie Doll, Stacey Franz, Sarah Seaton, Amanda Bailey Mosiman, Steve Spinks and Ondrea Temme          (Terry Phillippe not present, Morrie Doll present for Portion of meeting)

Pledge of Allegiance

# Approval of Minutes

# May 11, 2026 Stacey Franz made motion to approve. Sarah Seaton seconded motion.                  Motion carried unanimously. 2-0

## 2. Legal Drain Crossing Approval – Ditney Hill Road

Dustin from BSM Group on behalf of Spectrum requested approval for a legal drain crossing near Ditney Hill Road and County Road 650 North.

- Work involves drilling under an existing legal drain.

- The crossing must maintain:  60 inches minimum clearance below the drain, per county ordinance. Original application incorrectly stated 36 inches.

- The board approved the crossing unanimously, contingent upon:

  - updating the application to 60-inch clearance

  - execution of the hold harmless agreement

# Stacey Franz made motion to approve with 60-inch clearance and hold harmless agreement. Sarah Seaton seconded motion.  Motion carried unanimously. 2-0

# 3. Yellowstone / Sudamar Heights Drainage Issue-Update

# Drainage infrastructure / Sudamar Heights subdivision drains onto property now owned/developed by John Mattingly (Yellowstone PUD).

# Matter was previously address in May 8th & 22nd ,2023 and now requesting update with the county.

# The drain and inlets apparently, were never shown on approved drainage plans, nor were identified during later development engineering, and currently are flowing onto private property.

- Mattingly is developing the final portion of Yellowstone PUD and the existing drainage interferes with construction of a planned private roadway and buildings.

- A buried transformer is reportedly becoming covered in mud and sediment.

- Mattingly mentioned blocking the drain but this could expose parties to lawsuits

- Morrie, and Sarah mentioned that, public funds generally cannot be used for private improvements, and          accepting easements could create permanent maintenance obligations for the county.

- Stacey asked what was the outcome from May 2023, now Mattingly is ready to complete the remaining build and needs this issue resolved.

- Estimated cost would be for 300 feet of new pipe several years ago was $16,000 (likely higher today)

- Adjacent apartment owner had previously indicated willingness to grant an easement.

- Officials discussed revisiting that possibility.

- Questions remained about:

  - who would own/maintain the pipe,

  - whether the drainage board or storm water board would hold responsibility,

  - and long-term legal exposure.

- No final decision was made.

- The issue was tabled until June 29, 2026 at 2:30 PM.

- Staff and legal counsel will:

  - continue researching legal options,

  - discuss possible easements,

  - and develop recommendations before the next meeting.

# 4. Meeting Schedule Change

- The June 22 meeting was moved to:

  - June 29, 2026 at 2:30 PM

Sarah Seaton made motion to approve, Stacey Franz- seconded motion.

# 5. Westwood Subdivision Drain Project

- Drainage work in Westwood Subdivision Sections A and B is scheduled to begin that week, weather permitting.

- County inspectors will monitor the project.

# 6. Storm Water Fee Increase / Software Update

- Ordinance 2026-2 approving the 2026 storm water fee increase was officially adopted earlier in May.

The board discussed updating software/calculations for storm water billing:

- Approximately 19,000 parcels may require recalculation.

- Staff expressed concern about:

  - workload,

  - time constraints,

  - and liability for errors

- Baker Tilly was identified as the most likely outside consultant.

- Officials discussed whether:

  - multiple proposals are required,

  - or whether this qualifies as a professional service contract.

- Staff will:

  - seek a proposal/RFP from Baker Tilly,

  - consult with Treasurer & Auditors office about software,

  - and report back to the board before the June 29 meeting.

# 7. Adjournment

- The meeting adjourned after unanimous approval. Top of Form

Bottom of Form

Stacey Franz-I'll make a motion to adjourn.  – Steve Spinks-Second

Meeting Adjourned

Submitted

Ondrea Temme